| Course Code & Number: SPC – SCADA Intro and CyberSecurity Lab Name: |  |
| --- | --- |
| Course Developer/Author: Email: | eLearning Instructional Designer: Manohar Chamana |

Module Number and Title: Directly from the Course Design Plan: Modules section.  You will create a module design plan for each module on that document.

1 – Topic 1.0: Cybersecurity and SCADA

Module Overview:  Directly from the Module Overview column from the Course Design Plan: Modules section.

In this module, students will learn about the basic implementation of a SCADA system and how to perform basic security. Students will assist in implementation of a RTU, HMI, router, switch, and basic firewall.

Module Objectives: In the space below, provide the module objectives.  There are typically 1 – 5 module objectives that describe what the students will be able to do after completing this module. Identify the course objective(s) that align with each module objective and, if necessary, describe the relationship. Objectives should encourage higher level thinking. For assistance with writing effective course objectives, please refer to these resources:  Bloom’s Taxonomy and OPA Resource (page 7).

For K-12 courses, leave the Module Objectives blank in the beginning—you will align modules to TEKS first, and then, at the end of development, you will write succinct module objectives that integrate TEKS with the actual tasks of the module.

| Module Objectives By the completion of this module, students will be able to: | Bloom’s Taxonomy Level | Assessment Strategy | Course Objectives Alignment (#) |
| --- | --- | --- | --- |
| - Define and understand SCADA nomenclature | Understand |  | 1 |
| - Demonstrate knowledge of SCADA systems in general, including the basic technology of each component in a SCADA system and how they communicate | Apply |  | 1 |
| - Outline best practices for information security goals of confidentiality, integrity and availabilit | Understand |  | 1 |
| - Implement basic cybersecurity measures in a SCADA environment | Apply |  | 1 |

Task Outline: In the table below, provide a title for each task students will need to complete in order to learn the topic/content. Describe the task and the reasoning for including in this module.  Finally, note the module objective(s) that each task aligns with.  For K-12 courses, list the detailed TEKS item that the task aligns with or supports (TEKS 1A, 1B, etc.). A K-12 example has been provided to illustrate how this document works.  Gagne’s Nine Events of Instruction

| Step # of Gagne’s Nine Events… | Task Title | Task Description/Rationale - Write in first or second person, addressing students directly. - Include rationale or purpose for the task. Relate to Module Objectives where appropriate. - Explicit instructions for completing the task. | Module Objective Alignment (#) |
| --- | --- | --- | --- |
| 1 | Introduction (30 minutes) | Short summary of equipment used at the SPC Reese lab(s) and the goals of each session |  |
| 2 | Explanation of a basic SCADA network (30 minutes) | Students follow along with instructors to understand the basic components of a SCADA network and the duties of each component (Sensor, RTU/PLC, HMI, SCADA LAN, Router/Switch/Firewall, WAN, Control Center, SCADA Server/MTU) |  |
| 3 | Demonstration and implementation of SCADA network (2 hours) | Students will work with instructors to assemble a basic SCADA network, including sensors, RTUs, switches, and routers/firewalls |  |
| 4 | Explanation of data collection in a SCADA network (1 hour) | Students will work with instructors to manipulate the constructed SCADA network and collect basic data, as well as insert commands to turn on/off pieces of equipment. |  |
| 5 | Introduction of Cybersecurity Lab (30 minutes) | Review of CIA triad and goals of cybersecurity as well as introduction to equipment |  |
| 6 | Explanation and implementation of device hardening procedures (3.5 hours) | Students will assist instructors in implementing device hardening procedures, including network equipment authentication, SSH configuration, disabling unused ports and protocols, limiting access via ACLs, and site-to-site VPN configuration |  |